**Recertification Quiz for b123 Blood gas analyser**

**Full Name** …………………………………………………………………………………… **Operator ID** ….……………………………..

**Ward** ………………………………………………………. **Role** ………………………………………………………………………….

**Signature** …………………………………………………………… **Date** ……. /……. /…….

**Pre –analytics**

1. What anticoagulant should a blood gas syringe contain?

………………………………………………………………………

2. What should you do before attaching the syringe to prepare the sample for analysis?

a) …………………………………………………………………

b) …………………………………………………………………

3. How should you transport your sample to the analyser?

a) …………………………………………………………………

b) ………………………………………………………………...

**Analyser information**

4. What do the green parameter squares indicate?

………………………………………………………………………

5. Which button do you press to change a consumable?

………………………………………………………………………

6. Where would you find the calibration for ready button?

………………………………………………………………………

7. Where do you locate spare consumables for the blood gas analyser?

a) Sensor Cartridge ………………………………………………………………………

b) Fluid pack ………………………………………………………………………

**Running a sample**

8. What number is required for the patient ID? ………………………………………………………………………

9. What other information is required in order to process your sample?

a) .................................................. b) ..................................................

c) .................................................. d) ..................................................

10. Can you stick the result print out into the patient’s notes?

………………………………………………………………………

11. How are abnormal results identified on the results printout?

………………………………………………………………………

**Trouble Shooting**

****12. What does this mean?

………………………………………………………………………

13. Write down the buttons you press to get the parameter back to green

****.................................................. > ...................................................

 14. What does this mean?

 ………………………………………………………………………

 15. Write down the buttons you press to get the parameter back to green

.................................................. > .................................................. > .................................................. > ..................................................

Assessed by: ................................................................

Mark: /25