| ###### Test | Specimens Required | Sample Volume | Special Precautions | Turnaround Time1, 2 | Reference Range | Key Factors |
| --- | --- | --- | --- | --- | --- | --- |
| Anti- Factor Xa assay (LMWH or Danaparoid monitoring) (Apixaban, Rivaroxaban and Fondaparinux sent to Sheffield) | Citrate Tubes must be full to line. Over- or under-filled samples cannot be used | 2 x 3mL (adult) 2 x 1mL (paed) | . | 4 hours (urgent) 7 days (routine) | Contact Consultant Haematologist for advice. | No need to monitor LMWH’s or DOAC’s in all patients. Contact Consultant Haematologist for advice. |
| APTT Ratio | Citrate Tubes must be full to line. Over- or under-filled samples cannot be used | 1 x 3mL (adult) 1 x 1mL (paed) | . | 45 minutes if urgent. 4 hours routine. | Therapeutic range 1.5 to 2.5. | Used for patients on unfractionated heparin therapy (not LMWHs). Use pharmacy protocol for dosing. |
| Bone Marrow | Bone marrow aspirate  trephine | N/A | Contact Consultant Haematologist for advice. | Varies - contact Consultant Haematologist for advice. | N/A | Contact Consultant Haematologist for advice. |
| CD4 (Leeds) (see also T-cells) | EDTA | Minimum 3mL | Need to be analysed within 24 hours | 3 working days | Contact Consultant Haematologist for advice. | Samples referred to St James Hosp (Leeds) Ideally send samples am M-F |
| Chromosome analysis (karyotype) -St. James | Lithium Heparin (blood samples) Lithium Heparin/Hanks solution (bone marrow samples) | Whole blood (10mL Lithium Heparin) Bone marrow (1mL in Lithium Heparin/Hanks) | Test for ‘Fragile X’ required 10mL lithium heparin & 5mL EDTA whole blood | 7-36 days (peripheral blood) 6-28 days (bone marrow) | N/A | Appropriate tubes available from specimen reception |
| Clotting factor assays (including von Willebrands) | Citrate | 2 x 3mL (adult) 4 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. | 4 hours if urgent. 3-6 weeks routine. | Varies – reference range printed on final report. Ranges available from laboratory staff | Contact laboratory for advice on relevance of tests and sample volumes BEFORE taking bloods. |
| Coagulation Inhibitors | Citrate | 2 x 3mL (adult) 2 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. | Same day if urgent (agreed with Consultant Haematologist). 3-6 weeks routine. | Varies – reference range(s) printed on final report. Available from laboratory staff | Contact laboratory for advice on relevance of tests and sample volumes BEFORE taking bloods. |
| Coagulation Screen (PT, APTT + Fibrinogen) | Citrate | 1 x 3mL (adult) 1 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. | 45 minutes if urgent. 3 hours routine. | Printed on final report. Subject to change due to reagent changes. Current ranges available from laboratory staff. | Indicate on request form if patient receiving any anticoagulant drugs. |
| D-Dimer | Citrate | 1 x 3mL (adult) 1 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. | 45 minutes if urgent. 3 hours routine. | Printed on final report. Subject to change due to reagent changes. Current ranges available from laboratory staff. | Please state clearly why this investigation is required and provide clinical details. Refer to trust protocol |
| DNA studies-St. James | EDTA | 5 – 10mL (adult) Minimum 1mL (paed) | Fragile X test requires 10mL lithium heparin AND 5mL EDTA sample | 1 – 2 weeks | N/A | Store overnight samples at 4ºC if necessary. |
| Erythropoietin | Serum | 0.5 – 1.0 mL | Do not freeze. Store overnight samples at 4ºC if necessary. | 4 weeks | Available on final report | Please state most recent Hb & PCV |
| EPO receptor gene mutation analysis & VHL gene analysis | EDTA | 5mL | Please post Monday – Thursday only | Contact laboratory for expected turnaround time (Tel 02890 329241 ext. 3361) | N/A |  |
| ESR | EDTA | 1 x 3mL | Please note this sample can be used for both the FBC and ESR test. | 60 minutes if urgent. 5 hours routine. | Male: 1-10 mm/Hr Female:1-15 mm/Hr | Samples should be as fresh as possible. |
| Factor V Leiden | Citrate | 1 x 3mL (adult) 1 x 0.5mL (paed) | Not suitable if on heparin | Up to 4 weeks | N/A | Discuss with lab before requesting. |
| Full Blood Count (FBC) | EDTA | 1 x 3mL (adult) 1 x 0.5mL (paed) | Do not overfill samples | 30 minutes if urgent. 4 hours routine. | See below for FBC ranges. |  |
| Fibrinogen | Citrate | 3mL (adult) 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. | 45 minutes if urgent. 3 hours routine. | Printed on final report. Subject to change due to reagent changes. Current ranges available from laboratory staff. |  |
| Film examination4 | EDTA | 1 x 3mL (adult) 1 x 0.5mL (paed) | Prepared from FBC sample. Bone marrow films examined by Consultant Haematologists | 2 hours if urgent. 3 days routine. | See below for reference ranges. | Very abnormal blood films referred to Consultant Haematologist |
| Hb A2 assay | EDTA | 1 x 3mL (adult) 2 x 0.5mL (paed) |  | Up to 3 days | 1.8 – 3.5% | Included as part of haemoglobinopathyscreen |
| Hb F assay | EDTA | 1 x 3mL (adult) 2 x 0.5mL (paed) |  | Up to 3 days | <1.0 % | Included as part of haemoglobinopathy screen |
| HBH inclusion bodies | EDTA | 1 x 3mL (adult) 2 x 0.5mL (paed) |  | Up to 3 days | N/A (normal is absent) | Included as part of haemoglobinopathy screen |
| Haemoglobinopathy Screen – including Sickle Test | EDTA | 1 x 3mL (adult) 2 x 0.5mL (paed) |  | Up to 3 days | Issued with final report & interpretation | Please state ethnic origin if known |
| Hb electrophoresis | EDTA | 1 x 3mL (adult) 2 x 0.5mL (paed) |  | Up to 1 week | N/A | Included as part of haemoglobinopathy screen |
| Immunophenotyping (cell markers, HMDS) | EDTA Bone marrow | 1 x 3mL EDTA (adult) or 2 x 0.5mL EDTA (paediatric) Approx 1mL bone marrow in EDTA | Fresh sample required (24 hours max) | Up to 10 days | N/A | Available after discussion with Consultant Haematologists |
| IM Screen (for Glandular fever) | EDTA or | 1 x 3mL EDTA (adult) 1 x 0.5mL EDTA (paed) ~1mL serum | Need EDTA sample if FBC required also | 75 minutes if urgent. 6 hours routine. 72 hours for full report including blood film comments. | N/A |  |
|  | Serum |  |  |  |  |  |
| INR | Citrate | 1 x 3mL (adult) 1 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. | 45 minutes if urgent. 3 hours routine. | N/A – target INR depends on reason for anticoagulation | This test is indicated for the control of oral anticoagulant drugs only |
| Lupus inhibitor screen | Citrate | 2 x 3mL (adult) 2 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. Avoid testing during acute post-thrombic period and if on anticoagulants | Same day if urgent. Routine up to 21 days. | Issued with final report and interpretative comments | Anticardiolipin antibody assay indicated if screening for antiphospholipid antibodies |
| Lymph function tests (St James, Leeds) | EDTA | 2 x 3mL (adult) | Samples must arrive before 2.30pm Friday & before 4pm Monday to Thursday. | 2 weeks | N/A | Test by prior arrangement only. |
| Malaria parasites | EDTA | 1 x 3mL (adult) 1 x 0.5mL (paed) | All malarias are treated urgently. Please inform laboratory to expect sample. Samples must be as fresh as possible. | 1-2 hours | N/A | A single test where no parasites are detected cannot rule out malaria. Always repeat for confirmation, especially if clinical symptoms persist. |
| Osmotic fragility EMA binding test (send away to Royal Manchester Hospital) | Please discuss with Laboratory | 10mL (adult) 5mL (paed) 1 x 3mL (adult) | Test to be pre-arranged with Laboratory | 72 hours | Issued with final report. | Available after discussion with Consultant Haematologist |
| p50 (oxygen dissociation) | EDTA | 5mL EDTA from patient and a normal control | Post samples Monday – Thursday to be tested next working day. Test to be pre-arranged with Laboratory. Advice given on pre-analytical requirements | 1 week | Issued with final; report. | 3rd line investigation of absolute erythrocytosis. Contact Consultant Haematologist for advice. |
| PFA-100 (Platelet function) (St James Hospital) | EDTA and | 1 x 3mL EDTA and 1 x 3mL citrate | Tubes must be full to line. Over- or under-filled samples cannot be used. Test to be pre-arranged with Laboratory. Advice given on pre-analytical requirements | 1 week | Issued with final report | Must give prior notice – samples need to be tested within 4 hours of collection |
|  | Citrate |  |  |  |  |  |
| Plasminogen assay (Sheffield) | Citrate | 2 x 3mL (adult) 2 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. Test to be pre-arranged with Laboratory. Advice given on pre-analytical requirements | Contact laboratory in Sheffield | Issued with final report | Test rarely indicated - available after discussion with Consultant Haematologist |
| Platelet aggregation (Send away test to St James) | Citrate | 6 – 8 x 3mL (adult) Discuss with lab for paediatric requests. | Tubes must be full to line. Over- or under-filled samples cannot be used. Test to be pre-arranged with Laboratory. Advice given on pre-analytical requirements | Tested on day samples taken. Report issued within 2 – 3 days. | N/A - qualitative report issued | Samples must be in the lab by 10am |
| Plasma Viscosity (Scarborough) | EDTA | 3mL (adult) |  | 7-10 days | 1.50 – 1.72 mPa’s | Store overnight samples at 4ºC if necessary. |
| Prothrombin Gene Mutation | Citrate | 1 x 3mL (adult) 1 x 0.5mL (paed) | None. | Up to 4 weeks | N/A | Discuss with lab before requesting. |
| Reticulocytes | EDTA | 1 x 3mL (adult) 1 x 0.5mL (paed) | Automated reticulocyte available using FBC sample. Usually performed routinely on paediatric FBC requests. | 30 minutes if urgent. 4 hours routine. | Adult: < 0.5 – 2.5 % 30 – 125 x 109/L |  |
| Sickle-cell screen | EDTA | 1 x 3mL (adult) 1 x 0.5mL (paed) |  | 1 hour if urgent Up to 1 week routine. | N/A | A Sickle screen is always followed up with a Haemoglobinopathy investigation |
| T-cells(CD4/CD8) – (St James) | EDTA | 3mL | Need to be analysed within 24 hours | 2 working days | Contact Consultant Haematologist for advice. | Samples referred to St James Hosp (Leeds) Ideally send samples to lab before lunchtime Monday – Friday. |
| Thrombophilia Screen (Antithrombin, Protein C, Protein S, Thrombin Time, Lupus Inhibitor, Anticardiolipin, Coagulation Screen) | Citrate and | 3 x 3mL (adult) 5 x 1mL (paed) | Tubes must be full to line. Over- or under-filled samples cannot be used. Avoid testing during acute post-thrombic period, if on anticoagulants or when pregnant. | 3-6 weeks | Printed on final report. Subject to change due to reagent changes. Current ranges available from laboratory staff. | Relevant clinical details required on request form. Requests may be referred to haematologist |
|  | Serum |  |  |  |  |  |
| Unstable Hb's | EDTA | 1 x 3mL (adult) 3 x 0.5mL (paed) |  | 24 hours | N/A | Requires fresh sample – discuss with laboratory staff before taking samples. |
| Urine Haemosiderin | Urine | 20mL in a plain sterile container |  | 24 hours | N/A |  |

Normal Ranges:

Normal Adult ranges for routine Haematology tests are as follows: (for advice on neonatal ranges, pregnancy etc. please phone the laboratory):

| Test | Male | Female | Units |
| --- | --- | --- | --- |
| HB | 130-180 | 115-165 | g/L |
| WBC | 4-11 | 4-11 | 109/L |
| PLT | 150-450 | 150-450 | 109/L |
| RBC | 4.3-5.8 | 3.9-5.4 | 1012/L |
| MCV | 79-101 | 79-101 | fl |
| Hct (Haematocrit) | 0.39 – 0.50 | 0.36-0.47 | L/L |
| MCH | 27-32 | 27-32 | pg |
| MCHC | 30-37 | 30-37 | g/dL |
| Neuts | 2-8 | 2-8 | 109/L |
| Lymph | 0.5 – 4.5 | 0.5 – 4.5 | 109/L |
| Mono | 0.2-1.2 | 0.2-1.2 | 109/L |
| Eos | 0.1-0.7 | 0.1-0.7 | 109/L |
| Baso | <0.2 | <0.2 | 109/L |
| PV | 1.50-1.72 | 1.50-1.72 | mPa’s |
| ESR | 1-10 | 1-15 | mm/hr |
| PT (automated) | 10 – 12.0 | 10 – 12.0 | seconds |
| APR (Heparin ratio) | 1.5-2.5 | 1.5-2.5 | Ratio |
| APTT (automated, part of coag screen) | 26.0 – 36.0 | 26.0 – 36.0 | seconds |
| FIB | 1.9-4.5 | 1.9-4.5 | g/L |
| AT3 | 80 - 130 | 80 - 130 | iu/dL |
| Protein S Free Antigen | 75 - 145 | 55 - 125 | iu/dL |
| Protein C Activity | 70-140 | 70-140 | iu/dL |
| Factor VIII | 50 - 150 | 50 - 150 | iu/dL |
| Factor IX | 65 - 150 | 65 - 150 | iu/dL |
| D-Dimer for PE exclusion | <230 | <230 | ng/mL |
| D-Dimers for ?DIC | 21-230 | 21-230 | ng/mL |
| Lupus anticoagulant screen ratio | <1.2 = negative | <1.2 = negative | Ratio |
| Anticardiolipin IgG | <10 | <10 | GPL units/mL |
| Anticardiolipin IgM | <8.9 | <8.9 | MPL units/mL |

*These may change marginally depending on the reagents used for testing. Please contact the laboratory on ext 6326 if an exact normal range is required.

Paediatric Ranges (FBC):

| ## Age | ## Hb ## (g/L) | ## RBC ## (x1012/L) | ## Hct (Haematocrit) ## (L/L) | ## MCV ## (fL) | ## WBC (x 109/L) | ## Neutrophils (x 109/L) | ## Lymphocytes (x 109/L) | ## Monocytes (x 109/L) | ## Eosinophils (x 109/L) | ## Platelets (x 109/L) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## Birth | ## 149 – 237 | ## 3.7 – 6.5 | ## 0.47 - 0.75 | ## 100 – 135 | ## 10.0 – 26.0 | ## 2.7 – 14.4 | ## 2.0 – 7.3 | ## 0.0 – 1.9 | ## 0.0 – 0.84 | 150 -450 At All Ages |
| ## 2 Weeks | ## 134 – 198 | ## 3.9 – 5.9 | ## 0.41 - 0.61 | ## 88 – 120 | ## 6.0 – 21.0 | ## 1.8 – 5.4 | ## 2.8 – 9.1 | ## 0.1 – 1.7 | ## 0.0 – 0.84 |  |
| ## 2 Months | ## 94 – 130 | ## 3.1 – 4.3 | ## 0.28 – 0.42 | ## 84 – 105 | ## 6.0 – 18.0 | ## 1.2 – 7.5 | ## 3.0 – 13.5 | ## 0.1 – 1.7 | ## 0.1 – 0.80 |  |
| ## 6 Months | ## 111 – 141 | ## 3.9 – 5.5 | ## 0.31 – 0.41 | ## 68 – 82 | ## 6.0 – 17.5 | ## 1.0 – 8.5 | ## 4.0 – 13.5 | ## 0.2 – 1.2 | ## 0.3 – 0.80 |  |
| ## 1 Year | ## 113 – 141 | ## 4.1 – 5.3 | ## 0.33 – 0.41 | ## 71 – 85 | ## 6.0 – 17.5 | ## 1.5 – 8.5 | ## 4.0 – 10.5 | ## 0.2 – 1.2 | ## 0.3 – 0.80 |  |
| ## 2 - 6 Years | ## 115 – 135 | ## 3.9 – 5.3 | ## 0.34 – 0.40 | ## 75 – 87 | ## 5.0 – 17.0 | ## 1.5 – 8.5 | ## 1.5 – 9.5 | ## 0.2 – 1.2 | ## 0.3 – 0.80 |  |
| ## 6 – 12 Years | ## 115 – 155 | ## 4.0 – 5.2 | ## 0.35 – 0.45 | ## 77 - 95 | ## 4.5 – 14.5 | ## 1.5 – 8.0 | ## 1.5 – 7.0 | ## 0.2 – 1.0 | ## 0.1 – 0.50 |  |